## System Summary
System Summary
Quick-reference totals and water source info
Generated May 10, 2026 · McLaren Works
Edit the yellow cells with your actual system details. Other values link from the Zone Reference sheet.
System Totals
Total heads installed | 44
Plus unknown buried head | 1
Total heads (incl. unknown) | 45
Active zones | 11
Peak GPM (highest single zone) | 24
Total cycle run time (min) | 240
Total water per cycle (gal) | 2227.5
Water Source & Plumbing (fill in)
Water source
Static pressure (psi)
Dynamic pressure at backflow (psi)
Backflow preventer location
Main shutoff location
Main supply line size
Controller
Make / Model
Location
Number of stations
Smart / Wi-Fi enabled?
Programs in use
Service Contacts
Installer
Servicer
Plumber
Seasonal Schedule
Spring start-up
Mid-season check
Pre-winter inspection
Winterize
Note on B9: The 1 head buried under the deck whose zone is unknown.
Note on B11: Zones 1–11 active. Zone 12 unused.
Note on B12: Zones run one at a time, so peak demand = highest single-zone GPM.
Note on B13: Sum of run times if all zones run once.
Note on B29: A/B/C, days of week, start times.

## Head Inventory
Head Inventory
One row per sprinkler head · Updated as heads are serviced or replaced
Generated May 10, 2026 · McLaren Works
Use this sheet to track individual heads. Status options: OK, Needs service, Broken, Unknown.
Head ID | Zone | Type | Location / Description | Status | Last Serviced | Notes
Z1-1 | 1 | Pop-up spray |  | OK
Z1-2 | 1 | Pop-up spray |  | OK
Z1-3 | 1 | Pop-up spray |  | OK
Z1-4 | 1 | Pop-up spray |  | OK
Z1-5 | 1 | Pop-up spray |  | OK
Z2-1 | 2 | Pop-up spray |  | OK
Z2-2 | 2 | Pop-up spray |  | OK
Z2-3 | 2 | Pop-up spray |  | OK
Z2-4 | 2 | Pop-up spray |  | OK
Z3+6-1 | 3 & 6 | Rotor |  | OK
Z3+6-2 | 3 & 6 | Rotor |  | OK
Z3+6-3 | 3 & 6 | Rotor |  | OK
Z3+6-4 | 3 & 6 | Rotor |  | OK
Z3+6-5 | 3 & 6 | Rotor |  | OK
Z3+6-6 | 3 & 6 | Rotor |  | OK
Z3+6-7 | 3 & 6 | Rotor |  | OK
Z3+6-8 | 3 & 6 | Rotor |  | OK
Z4-1 | 4 | Pop-up spray |  | OK
Z4-2 | 4 | Pop-up spray |  | OK
Z4-3 | 4 | Pop-up spray |  | OK
Z5-1 | 5 | Pop-up spray |  | OK
Z5-2 | 5 | Pop-up spray |  | OK
Z5-3 | 5 | Pop-up spray |  | OK
Z5-4 | 5 | Pop-up spray |  | OK
Z7-1 | 7 | Drip |  | OK
Z7-2 | 7 | Drip |  | OK
Z7-3 | 7 | Drip |  | OK
Z8-1 | 8 | Pop-up spray |  | Broken |  | Reported broken on schematic; locate and repair.
Z8-2 | 8 | Pop-up spray |  | OK
Z8-3 | 8 | Pop-up spray |  | OK
Z8-4 | 8 | Pop-up spray |  | OK
Z9-1 | 9 | Rotor |  | OK
Z9-2 | 9 | Rotor |  | OK
Z9-3 | 9 | Rotor |  | OK
Z10-1 | 10 | Pop-up spray |  | OK
Z10-2 | 10 | Pop-up spray |  | OK
Z10-3 | 10 | Pop-up spray |  | OK
Z10-4 | 10 | Pop-up spray |  | OK
Z10-5 | 10 | Pop-up spray |  | OK
Z10-6 | 10 | Pop-up spray |  | OK
Z11-1 | 11 | Rotor |  | OK
Z11-2 | 11 | Rotor |  | OK
Z11-3 | 11 | Rotor |  | OK
Z11-4 | 11 | Rotor |  | OK
Z?-1 | ? | Unknown | Buried under deck | Unknown |  | Identify zone by running each zone individually and observing.

## Zone Reference
Irrigation Zone Reference
5589 rue Goddard · Lot 3, Concession A · Deschenes, QC
Generated May 10, 2026 · McLaren Works
Legend: Yellow cells = your inputs (edit these) · White cells with formulas auto-calculate · All flows in US gallons per minute (GPM)
Zone | Coverage Area | Marker | Head Count | Head Type | GPM / Head | Total GPM | Run Time (min) | Gal / Cycle | Valve / Manifold Location | Status | Notes
1 | Front / west side lawn |  | 5 | Pop-up spray | 1.5 | 7.5 | 15 | 112.5 |  | OK
2 | East side beds & lawn |  | 4 | Pop-up spray | 1.5 | 6 | 15 | 90 |  | OK
3 & 6 | Back lawn (combined) |  | 8 | Rotor | 3 | 24 | 35 | 840 | Possibly Y'd at manifold | OK | Drawn as combined on map — confirm whether these are wired together or separate valves.
4 | Front entry / driveway side |  | 3 | Pop-up spray | 1.5 | 4.5 | 15 | 67.5 |  | OK
5 | Back / pool deck area |  | 4 | Pop-up spray | 1.5 | 6 | 15 | 90 |  | OK
7 | Pool surround landscaping |  | 3 | Drip | 0.5 | 1.5 | 45 | 67.5 |  | OK
8 | East perimeter (1 broken) |  | 4 | Pop-up spray | 1.5 | 6 | 15 | 90 | Locate broken head before next season | Needs service | 1 head broken (north of east property line). Locate and replace before season start.
9 | North triangle (Goddard frontage NE) |  | 3 | Rotor | 3 | 9 | 35 | 315 |  | OK
10 | East lawn |  | 6 | Pop-up spray | 1.5 | 9 | 15 | 135 |  | OK
11 | West / Goddard frontage strip |  | 4 | Rotor | 3 | 12 | 35 | 420 |  | OK
12 | (Unused / spare zone) |  | 0 | — | 0 | 0 | 0 | 0 | Available for future expansion | Inactive | No heads installed. Available for future expansion.
TOTAL |  |  | 44 |  |  | 24 | 240 | 2227.5
⚠ | 1 additional head buried under deck — zone unknown. Run zones individually and listen/observe to identify.
Note on E8: Best guess from layout — verify against actual installed head.
Note on E9: Best guess from layout — verify against actual installed head.
Note on E10: Best guess from layout — verify against actual installed head.
Note on E11: Best guess from layout — verify against actual installed head.
Note on E12: Best guess from layout — verify against actual installed head.
Note on E13: Best guess from layout — verify against actual installed head.
Note on E14: Best guess from layout — verify against actual installed head.
Note on E15: Best guess from layout — verify against actual installed head.
Note on E16: Best guess from layout — verify against actual installed head.
Note on E17: Best guess from layout — verify against actual installed head.
Note on G19: Peak GPM = highest single-zone demand (zones run one at a time).

## Maintenance Log
Maintenance Log
Record service activity, dates, and outcomes
Generated May 10, 2026 · McLaren Works
Add a new row each time a service is performed. Sort newest at top, or use Excel filter as needed.
Date | Zone(s) | Activity Type | Performed By | Parts / Cost | Notes
| All | Spring start-up |  |  | Open main valve slowly. Walk each zone, check coverage, look for broken heads, geysers, weeping.
| All | Winterize / blow-out |  |  | Compressor blow-out before first hard freeze (~late October Ottawa). Each zone 1–2 min until air only.
| 8 | Head replacement |  |  | Replace broken Z8 head identified on schematic.
| ? | Inspection |  |  | Identify zone of buried-under-deck head.